## 14Jan10
Lunar Sodium Observations
NSO - McMath-Pierce Telescope Main at North Port |  |  |  |  | Dual Etalon Fabry-Perot: Master (A) = 4 mm; Slave (B) = 1.76 mm |  |  |  |  | System Configuration: Andor 912
2014 January 10 |  |  |  |  | Observers: Oliversen, Derr |  |  |  |  | Shift Speed = 44.975; Read Rate = 50 kHz; T(camera) = -80 C, water cooled
[5 empty] | Weather: Clear, T = 4.8 C, RH = 35% |  |  |  |  | FITS unsigned 16-bit image
L1 | L2 | L3 | L4 |  | Moon illumination ~ % (waxing gibbous) |  |  |  |  | Two 'parallel' bright streaks in images off the moon. The streaks rotate with the #1 mirror.
f = 30" | f = 750 mm | f = 308 mm | f = 200 mm |  | North Port: Trm = 15.9 C, RH = 16.7%, Tgas = 48F |  |  |  |  | The streaks are dark against the moon center continuum. There are water stains on the
d = 6" | d = 50.8 mm | d = 59 mm | f/4 |  | Telescope focus = NA, focus & collimated on moon |  |  |  |  | mirrors. Subsequent investigation reveals the water stains strongly glint. The #1 mirror
[5 empty] | Entrance Aperture = 3' |  |  |  |  | was stowed facing up in bad weather in December 2013 (by the Germans).
|  | Time | HA | Expo |  | Pressure |  |  | Image | Gain | FOV | Wavelength |  | Fabry-Perot |  | Fabry-Perot (ave) |  | RA | DEC | Azimuth | Elevation |  |  |  | Surface | Illuminated | Diameter | Observer: Sub - |  | Solar: Sub- |  | r | rdot | delta | deldot | S-O-T | L/T | S-T-O
Object | File | (UT) | (hh:mm) | (sec) | Filter | A (torr) | B (torr) | Comments #1 | Type |  | Arcsec | (Primary Å) | Comment #2 | Cntr X | Cntr Y | <Xcntr> | <Ycntr> | (hh.dddd) | (dd.dddd) | (deg) | (deg) | LST | AM | Mv | Brightness | Fraction | (arcsec) | Longitude | Latitude | Longitude | Latitude | (km) | (km/s) | (km) | (km/s) | (deg) |  | (deg)
Na lamp | na_01 | 4:20 | 0:00 | 10 | Na D2 5890/4 A | 1190 | 1104 | Std Config - Lamp off ceiling card | Comp | 4 | 180 | 5889.9509
Th-Ar HC lamp | th_02 | 4:40 | 0:00 | 30 | Na D2 5890/4 A | 1190 | 998 | Std Config - HC over Entr Aperture | Comp | 4 | 180 | 5891.451
Th-Ar HC lamp | th_03 | 4:42 | 0:00 | 30 | Na D2 5890/4 A | 1070 | 878 | Std Config - reduced ring | Comp | 4 | 180 | 5891.451
Th-Ar HC lamp | th_04 | 5:38 | 0:00 | 30 | Th I 7647/5.5 A | 880 | 866 | Std Config - HC over Entr Aperture | Comp | 4 | 180 | 7647.38 | Changed focus
K HC lamp | k_05 | 5:59 | 0:00 | 30 | K D1 7699/5 A | 870 | 782 | Std Config - HC off ceiling card | Comp | 4 | 180 | 7698.9647 | <delta p>= -84 from Th(K) tune; logbook lists Th I 7647/5.5 A fliter
Moon Center (K) | moon_06 | 6:34 |  | 30 | K D1 7699/5 A | 870 | 782 | Central Highlands | Obj | 4 | 180 | 7698.9647 | Adjusted collimation on moon |  |  |  |  | 41.6805 | 15.0083 | 264.5992 | 37.6315 | 6.4411 | 1.634 | -10.93 | 4.74 | 70.514 | 1834.48 | 5.9655 | 1.3327 | 71.7656 | 1.5077 | 147282098.7 | 0.89136 | 390700.052 | 0.34949 | 114.0861 | /T | 65.7751
Langrenus limb (K) | moon_07 | 6:37 |  | 300 | K D1 7699/5 A | 870 | 782 | FOV at limb (W) | Obj | 4 | 180 | 7698.9647 | [5 empty] | 41.7213 | 15.015 | 265.4621 | 36.3979 | 6.5414 | 1.681 | -10.93 | 4.74 | 70.542 | 1833.885 | 5.95 | 1.3391 | 71.715 | 1.5077 | 147282419.6 | 0.89107 | 390826.8348 | 0.35476 | 114.1213 | /T | 65.7399
Cleomedes limb (K) | moon_08 | 6:53 |  | 300 | K D1 7699/5 A | 870 | 782 | FOV at limb (W) | Obj | 4 | 180 | 7698.9647 | [5 empty] | 41.8321 | 15.0324 | 267.6827 | 33.1034 | 6.8088 | 1.826 | -10.94 | 4.74 | 70.618 | 1832.258 | 5.9106 | 1.3571 | 71.58 | 1.5079 | 147283274.6 | 0.89028 | 391173.8191 | 0.36781 | 114.2172 | /T | 65.644
Cleomedes limb (K) | moon_09 | 7:02 |  | 300 | K D1 7699/5 A | 870 | 782 | FOV at Field lens edge | Obj | 4 | 180 | 7698.9647 | [5 empty] | 41.8959 | 15.0419 | 268.8881 | 31.2487 | 6.9592 | 1.921 | -10.94 | 4.74 | 70.662 | 1831.319 | 5.8897 | 1.3679 | 71.5041 | 1.508 | 147283755.2 | 0.88983 | 391374.2855 | 0.37451 | 114.2723 | /T | 65.5889
Langrenus Limb (K) | moon_10 | 7:10 |  | 300 | K D1 7699/5 A | 870 | 782 | FOV at Field lens edge | Obj | 4 | 180 | 7698.9647 | [5 empty] | 41.9536 | 15.0502 | 269.9375 | 29.6002 | 7.0929 | 2.017 | -10.94 | 4.74 | 70.702 | 1830.472 | 5.8718 | 1.3779 | 71.4366 | 1.5081 | 147284182.3 | 0.88943 | 391555.4112 | 0.38005 | 114.3221 | /T | 65.5391
Cleomedes limb (Na) | moon_11 | 7:21 |  | 300 | Na D2 5890/4 A | 1190 | 1104 | FOV at limb (W) | Obj | 4 | 180 | 5889.9509 | [5 empty] | 42.0342 | 15.0614 | 271.3518 | 27.3345 | 7.2767 | 2.168 | -10.94 | 4.74 | 70.757 | 1829.289 | 5.8485 | 1.3923 | 71.3438 | 1.5083 | 147284769.1 | 0.88889 | 391808.6162 | 0.38704 | 114.3918 | /T | 65.4693
Cleomedes limb (Na) | moon_12 | 7:29 |  | 300 | Na D2 5890/4 A | 1190 | 1104 | FOV at Field lens edge | Obj | 4 | 120 | 5889.9509 | 2' FOV |  |  |  |  | 42.0938 | 15.0694 | 272.3629 | 25.6884 | 7.4104 | 2.295 | -10.94 | 4.74 | 70.798 | 1828.417 | 5.8325 | 1.4032 | 71.2763 | 1.5084 | 147285195.7 | 0.88849 | 391995.5389 | 0.39166 | 114.4434 | /T | 65.4177
Langrenus limb (Na) | moon_13 | 7:39 |  | 300 | Na D2 5890/4 A | 1190 | 1104 | FOV at limb (W) | Obj | 4 | 120 | 5889.9509 | 2' FOV |  |  |  |  | 42.1697 | 15.0793 | 273.6099 | 23.6334 | 7.5775 | 2.479 | -10.94 | 4.73 | 70.85 | 1827.314 | 5.8135 | 1.4173 | 71.192 | 1.5085 | 147285728.6 | 0.88799 | 392232.1539 | 0.39688 | 114.509 | /T | 65.3521
Langrenus limb | moon_14 | 7:49 |  | 300 | Na D2 5890/4 A | 1190 | 1104 | FOV at Field lens edge | Obj | 4 | 120 | 5889.9509 | 2' FOV |  |  |  |  | 42.2469 | 15.089 | 274.8419 | 21.5823 | 7.7447 | 2.697 | -10.94 | 4.73 | 70.903 | 1826.199 | 5.7958 | 1.432 | 71.1076 | 1.5086 | 147286261.2 | 0.88748 | 392471.7086 | 0.40146 | 114.5759 | /T | 65.2853
Langrenus limb | moon_15 | 7:59 |  | 300 | Na D2 5890/4 A | 1190 | 1104 | FOV 28s W of limb | Obj | 4 | 120 | 5889.9509 | 2' FOV |  |  |  |  | 42.3097 | 15.0966 | 275.8193 | 19.9449 | 7.8784 | 2.904 | -10.94 | 4.73 | 70.946 | 1825.299 | 5.7825 | 1.4441 | 71.0402 | 1.5087 | 147286687.1 | 0.88708 | 392665.2133 | 0.40467 | 114.6302 | /T | 65.2309
Langrenus limb | moon_16 | 8:07 |  | 300 | Na D2 5890/4 A | 1190 | 1104 | FOV 42s W of limb | Obj | 4 | 180 | 5889.9509 | 3' FOV |  |  |  |  | 42.3895 | 15.106 | 277.0336 | 17.9033 | 8.0455 | 3.215 | -10.94 | 4.73 | 71.001 | 1824.166 | 5.767 | 1.4598 | 70.9558 | 1.5088 | 147287219.2 | 0.88658 | 392909.0976 | 0.4081 | 114.6993 | /T | 65.1618
Langrenus limb | moon_17 | 8:15 |  | 300 | Na D2 5890/4 A | 1190 | 1104 | FOV 1m W of limb | Obj | 4 | 180 | 5889.9509 | [5 empty] | 42.4543 | 15.1135 | 278.0014 | 16.2746 | 8.1792 | 3.517 | -10.94 | 4.73 | 71.045 | 1823.254 | 5.7556 | 1.4727 | 70.8883 | 1.5089 | 147287644.7 | 0.88617 | 393105.566 | 0.41038 | 114.7556 | /T | 65.1056
Moon Center | moon_18 | 8:22 |  | 30 | Na D2 5890/4 A | 1190 | 1104 | Central Highlands | Obj | 4 | 180 | 5889.9509 | Trm = 16.4 C; RH ~19% |  |  |  |  | 42.4871 | 15.1172 | 278.4846 | 15.462 | 8.246 | 3.691 | -10.94 | 4.73 | 71.068 | 1822.797 | 5.7501 | 1.4793 | 70.8546 | 1.509 | 147287857.4 | 0.88597 | 393204.1854 | 0.41136 | 114.784 | /T | 65.0771
Sky Bkgd | sky_19 |  |  | 300 | Na D2 5890/4 A | 1190 | 1104 | 40m E of center | Obj | 4 | 180 | 5889.9509 | Focus at infinity | 264.8 | 268.6
Na lamp | na_20 | 8:47 | 0:00 | 10 | Na D2 5890/4 A | 1190 | 1104 | Std Config - Lamp off ceiling card | Comp | 4 | 180 | 5889.9509 | 3' FOV
Th-Ar lamp | th_21 | 8:53 | 0:00 | 30 | Na D2 5890/4 A | 1190 | 998 | Std Config - HC over Entr Aperture | Comp | 4 | 120 | 5891.451 | 2' FOV
Th-Ar lamp | th_22 | 8:55 | 0:00 | 30 | Na D2 5890/4 A | 1070 | 878 | Std Config - reduced ring | Comp | 4 | 120 | 5891.451 | 2' FOV
Th-Ar lamp (K) | th_23 | 8:58 | 0:00 | 30 | Th I 7647/5.5 A | 880 | 866 | Std Config - HC over Entr Aperture | Comp | 4 | 120 | 7647.38 | 2' FOV
Flat |  | 9:11 | 0:00 | 900 | Na D2 5890/4 A | 1190 | 1104 | Std Config - White light off ceiling card | Flat | 4 | 120 | 5889.9509
| Notes: | Ar I | 5888.584 |  | Grimaldi | 68.3 W | 5.5 S | Langrenus | 61.1 E | 8.9 S
|  | Na D2 | 5889.9509 |  | Aristarchus | 47.4 W | 23.7 N | Taruntius | 46.5 E | 5.6 N
|  | Th I (Na) | 5891.451 |  | Copernicus | 20.0 W | 9.7 N | Petavius | 60.4 E | 25.3 N
|  | Th I (K) | 7647.38 |  | Tycho | 11.1 W | 43.4 S | Cleomedes | 55.5 E | 27.7 N
|  | K I D1 | 7698.9647 |  | Plato | 9.3 W | 51.6 N | Messala | 59.9 E | 39.2 N
|  | L1 | Telescope lens |  | 6" dia. F/5 |  |  | Fabry-Perot | A: Master |  | 4.00 mm
|  | L2 | Field lens | [5 empty] | B: Slave |  | 1.76 mm
|  | L3 | FP collimator
|  | L4 | CCD camera lens
|  | Filters | 1 | Na D2 5890/4 A (589.0/0.4 nm)
ANDV11321 589.0/0.4nm
|  |  | 2 | H-alpha 6563/5.5 A (656.3/0.55 nm)
ANDV13296 656.3/0.55nm
|  |  | 3 | Th I 7647/5.5 A (K: 764.7/0.55 nm)
ANDV13404 764.7/0.55nm
|  |  | 4 | K D1 7699/5 A (769.9/0.55 nm)
ANDV 13173 769.9/0.55nm